## Policy Search
Policy | Description | Geography | Products Type | Policy Approach | Policy Instrument | Policy Status | Adopted | Revised | Updated by CLASP | Fuel Types | Test Method Applied | Responsible Agency | Related Topics | Permalink | Source
Energy Efficiency (Minimum Energy Efficiency Standards And Energy Labelling) Regulations, 2023 | This policy regulates minimum energy efficiency standards (MEPS) and label for air-conditioners: {a} casement or window type air-conditioner (cooling capacity of 7.1 kW or lower); (b} split type non-inverter air-conditioner with one or more than one indoor unit (cooling capacity of 7.1 kW or lower); {c} split type inverter air-conditioner with one or more than one indoor unit (cooling capacity of 7.1 kW or lower). | Brunei Darussalam | Air Conditioning, Room ACs - Stationary ACs | Mandatory | Comparative Label, Minimum Performance Standard | Entered into force, New | 2023 |  | September 2025 | Electricity | ISO 5151 , ISO 15042 | The Office of the Prime Minister | Energy Efficiency | https://cprc-clasp.ngo/policies/energy-efficiency-minimum-energy-efficiency-standards-and-energy-labelling-regulations | https://www.agc.gov.bn/AGC%20Images/LAWS/Gazette_PDF/2023/EN/S%2037_2023%20[E].pdf
ETA 0804 - Specifications for the assignment of ANQIP water efficiency labels to toilet flush cisterns (V. 4) | The following devices are considered within the scope of this Specification: - Simple flush toilets, gravity type; - Dual flush cisterns, gravity type; - Double-acting flush toilets (with discharge interruption), gravity type. Conditions for the attribution of water efficiency labels to cisterns are available in Table 1 page 3 of the document. | Portugal | Toilets | Voluntary | Comparative Label | Entered into force, Revised | 2008 | 2015 | January 2021 | Water |  | Associação Nacional para a Qualidade nas Instalações Prediais (ANQIP) | Water Efficiency | https://cprc-clasp.ngo/policies/eta-0804-specifications-assignment-anqip-water-efficiency-labels-toilet-flush-cisterns-v-4 | https://anqip.pt/images/stories/ETA_0804_v.4_novo.1.pdf
ETA 0806 - Specifications for assigning ANQIP water efficiency labels to showers and shower systems | The following devices are considered within the scope of this Specification: - Shower (shower head), alone; Shower system (shower taps equipped with hose and shower head removable or fixed). The assignment of labeling rating to a given product follows the categories established in Table 1 - please access the document at page 3 for more information. | Portugal | Showers or Showerheads | Voluntary | Comparative Label | Entered into force, Revised | 2008 | 2015 | January 2021 | Water |  | Associação Nacional para a Qualidade nas Instalações Prediais (ANQIP) | Water Efficiency | https://cprc-clasp.ngo/policies/eta-0806-specifications-assigning-anqip-water-efficiency-labels-showers-and-shower-systems | https://anqip.pt/images/stories/ETA_0806_v.4_novo.1.pdf
ETA 0808 - Specifications for assigning ANQIP water efficiency labels to taps and flow meters (p. 3) | This policy applies to washbasin taps, kitchen taps, and urinal flowmeters. | Portugal | Urinals, Taps or Faucets | Voluntary | Comparative Label | Entered into force, Revised | 2008 | 2015 | January 2021 | Water |  | Associação Nacional para a Qualidade nas Instalações Prediais (ANQIP) | Water Efficiency | https://cprc-clasp.ngo/policies/eta-0808-specifications-assigning-anqip-water-efficiency-labels-taps-and-flow-meters-p-3 | https://anqip.pt/images/stories/ETA_0808_v.3_novo.1.pdf
MEPS and labeling schemes for air conditioners | Non inverter type and single phase | Brunei Darussalam | Room ACs - Stationary ACs | Not applicable | Comparative Label, Minimum Performance Standard | Under development |  |  | October 2019 | Electricity |  | Energy Labelling and Standards Task Force of Energy Department, Prime Ministers… | Energy Efficiency | https://cprc-clasp.ngo/policies/meps-and-labeling-schemes-air-conditioners-4 | http://www.lse.ac.uk/GranthamInstitute/wp-content/uploads/laws/8145.pdf
Resolución 40234 de marzo de 2017: Por la cual se modifican y aclaran algunas excepciones para la aplicación del Anexo General de la Resolución 41012 del 18 de septiembre de 2015 “Reglamento Técnico de Etiquetado – RETIQ. | This Regulation covers Gas-burning domestic stove tops and ovens,Air conditioning systems with a condenser cooled by air or water - with one or more points of exit for flows of cooled air,Air conditioning systems contained within a box - designed as a unit to be installed in a window or through a wall , Equipment to clean and rinse textiles using water. May also have a way of extracting excess water from textiles., Electronic and electromagnetic ballasts for tubular fluorescent lighting , Electronic and electromagnetic ballasts for tubular fluorescent lighting , Single-phase electric motors for 60 Hz with rated voltage up to 240V and nominal power from 0.18 kW to 1.5 kW, Three-phase electric induction motors type squirrel cage for 60 Hz with nominal voltage up to 600 V and nominal power of 0.18 kW to 373 kW, Commercial refrigerators and freezers , Domestic refrigerators and freezers , Residential instantaneous-type gas water heaters , Residential storage-type electric water heaters and Residential storage-type gas water heaters | Colombia | Ovens, Washing Machines, Fluorescent and HID Lighting, 3-Phase Motors, 1-Phase Motors, Room ACs - Stationary ACs, Instantaneous Water Heaters, Storage Water Heaters, Refrigerators-Freezers | Voluntary | Comparative Label | Entered into force, Revised | 2015 | 2018 | September 2018 | Electricity, Gas |  | Etiquetado Energetico Colombia | Energy Efficiency | https://cprc-clasp.ngo/policies/resolucion-40234-de-marzo-de-2017-por-la-cual-se-modifican-y-aclaran-algunas-excepciones | http://www.etiquetaenergetica.gov.co/wp-content/uploads/2015/09/ANEXO-RETIQ_Septiembre2015-pdf.pdf