## Policy Search
Policy | Description | Geography | Products Type | Policy Approach | Policy Instrument | Policy Status | Adopted | Revised | Updated by CLASP | Fuel Types | Test Method Applied | Responsible Agency | Related Topics | Permalink | Source
Energy Conservation Labeling Program Requirements for Non-ducted Air Conditioners | This policy applies to room air conditioners (window and split). The product shall meet the requirements of CNS 3615 for non-ducted air conditioners. | Taiwan of China | Room ACs - Stationary ACs | Voluntary | Endorsement Label | Entered into force, Revised | 2009 | 2015 | August 2018 | Electricity | CNS 3615-95 CNS 7183 | Bureau of Energy, Ministry of Economic Affairs | Energy Efficiency | https://cprc-clasp.ngo/policies/energy-conservation-labeling-program-requirements-non-ducted-air-conditioners | http://www.energylabel.org.tw/application_en/efficiency/upt.asp?cid=1
Greenmark N29 - Air Conditioners | Applies to the non-ducted air conditioners which meet the definition of CNS 3615. This standard is applicable to both the integrated and split-type air conditioners. | Taiwan of China | Room ACs - Stationary ACs | Voluntary | Endorsement Label | Entered into force, Revised | 2005 | 2013 | August 2018 | Electricity | CNS 3615-2013 CNS 7183 CNS 14464 | Greenmark Labelling Program | Energy Efficiency | https://cprc-clasp.ngo/policies/greenmark-n29-air-conditioners | http://greenliving.epa.gov.tw/GreenLife/uploadfiles/Criteria/29/e9a201dc-b4bf-48d1-8e8a-a839581e22c8.pdf
Minimum Energy Performance Standards for Window/Box-Type Air Conditioners | This policy contains minimum energy performance standards for residential and commercial window/box-type air conditioners. | Taiwan of China | Room ACs - Stationary ACs | Mandatory | Minimum Performance Standard | Entered into force, New | 2002 |  | October 2022 | Electricity |  | Bureau of Energy, Ministry of Economic Affairs | Energy Efficiency | https://cprc-clasp.ngo/policies/minimum-energy-performance-standards-windowbox-type-air-conditioners | https://www.moeaboe.gov.tw/ECW/english/content/Content.aspx?menu_id=1535
NTON 10 017-08 Energy efficiency. Window, split, packaged air conditioners. Energy efficiency ratings | This standard specifies the MEPS for window air conditioners, split air conditioners, packaged air conditioners with nominal cooling capacities of up to 17,589 W (60,000 Btu/h). | Nicaragua | Room ACs - Stationary ACs | Mandatory | Minimum Performance Standard | Entered into force, New | 2012 |  | November 2019 | Electricity |  | Ministerio de Energía y Minas | Energy Efficiency | https://cprc-clasp.ngo/policies/nton-10-017-08-energy-efficiency-window-split-packaged-air-conditioners-energy-efficiency | http://legislacion.asamblea.gob.ni/Normaweb.nsf/xpNorma.xsp?documentId=B07CC5D87FAD7A89062579DF004E0350&action=openDocument
RACs Packaged Terminal - Taiwan | Window or box-type Room Air Conditioners of both Air Cooled and Water Cooled types | Taiwan of China | Room ACs - Stationary ACs | Voluntary | Minimum Performance Standard | Entered into force, Revised | 1991 | 2009 | August 2018 | Electricity | CNS 14464 CNS 7183 CNS 3615-95 | Bureau of Energy, Ministry of Economic Affairs | Energy Efficiency | https://cprc-clasp.ngo/policies/racs-packaged-terminal-taiwan | http://www.moeaboe.gov.tw/ECW/english/content/Content.aspx?menu_id=1535
RACs Split - Taiwan | Product Scope and related MEPS Requirements based on testing standards CNS 3615 CNS 14464 and CNS 7183 | Taiwan of China | Room ACs - Stationary ACs | Voluntary | Minimum Performance Standard | Entered into force, Revised | 1991 | 2002 | August 2018 | Electricity | CNS 3615-95 CNS 7183 | Bureau of Energy, Ministry of Economic Affairs | Energy Efficiency | https://cprc-clasp.ngo/policies/racs-split-taiwan | http://www.moeaboe.gov.tw/ECW/english/content/Content.aspx?menu_id=1535
RACs Window MEPS | EER of No-duct RAC should be in accordance with No-Duct Air Conditioner and Heat Pump Testing Standard in CNS 14464. The ratio of total cooling capacity to effective input power under T1 standard testing condition should no be smaller than the values in the above table and must be more than 95 percent of the labeled value. Only products that the capacity is less than 70kW will be tested. | Taiwan of China | Room ACs - Stationary ACs | Voluntary | Minimum Performance Standard | Entered into force, Revised | 1991 | 2016 | August 2018 | Electricity | CNS 3615-95 CNS 7183 CNS 14464 | Greenmark Labelling Program | Energy Efficiency | https://cprc-clasp.ngo/policies/racs-window-meps | http://www.moeaboe.gov.tw/ECW/english/content/Content.aspx?menu_id=1535
Revisions to Requirements on Labeling and Inspection of Energy Consumption and Energy Efficiency Rating for Room Air Conditioners | The window or wall-type and box-type room air conditioners meeting the definition of air conditioners as defined in CNS 3615 and CNS 14464 and promulgated by the Bureau of Standards Metrology and Inspection of the Ministry of Economic Affairs as products requiring inspection before marketing. | Taiwan of China | Room ACs - Stationary ACs | Voluntary | Comparative Label | Entered into force, Revised | 2010 | 2010 | August 2018 | Electricity | CNS 3615-95 CNS 7183 CNS 14464 | Bureau of Energy, Ministry of Economic Affairs | Energy Efficiency | https://cprc-clasp.ngo/policies/revisions-requirements-labeling-and-inspection-energy-consumption-and-energy-efficiency-1 | https://ranking.energylabel.org.tw/_outweb/gen/law/upt.asp?pageno=&uid=0&con=&cid=0&year=&month=&day=&key=&lang=&PDID=&p0=29