## Policy Search
Policy | Description | Geography | Products Type | Policy Approach | Policy Instrument | Policy Status | Adopted | Revised | Updated by CLASP | Fuel Types | Test Method Applied | Responsible Agency | Related Topics | Permalink | Source
Energy Efficiency Criteria and Labeling Method for Centrifugal Fans; No. En-Tech 10205010191 | Centrifugal Fans shall meet the following specifications and the requirements of CNS 6592; CNS 6593; or recognized by the Bureau of Energy MOEA. The required specifications are: | Taiwan of China | Industrial Fans | Voluntary | Endorsement Label | Entered into force, New | 2013 |  | August 2018 | Electricity | ISO 5801 or AMCA 210 | Greenmark Labelling Program | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/energy-efficiency-criteria-and-labeling-method-centrifugal-fans-no-en-tech-10205010191 | http://www.energylabel.org.tw/application_en/efficiency/upt.asp?cid=49
LI 2456 Energy Commission (Energy Efficiency Standards and Labelling) (Electric Motors) Regulations, 2022 | These regulations apply to an induction motor whether sold separately or partly integrated in other products that has 2,4,6, or 8 poles; has a rated voltage that's more than 50 V but less than 1000 V; has a rated power output of 0.12 kW up to 1000 kW; is rated to operate at a frequency of 50 Hz; is rated on the basis of continuous duty operation, and; is rated for direct on-line operation. | Ghana | 3-Phase Motors, 1-Phase Motors | Mandatory | Minimum Performance Standard | Entered into force, New | 2022 |  | March 2023 | Electricity |  | Ghana Energy Commission | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/li-2456-energy-commission-energy-efficiency-standards-and-labelling-electric-motors | https://www.energycom.gov.gh/regulation/regulation-and-codes
Low-voltage single-phase inductive motor energy efficiency ratio standards | Low-voltage single-phase inductive motor | Taiwan of China | 1-Phase Motors | Voluntary | Minimum Performance Standard | Entered into force, Revised | 1981 | 2002 | August 2018 | Electricity |  | Greenmark Labelling Program | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/low-voltage-single-phase-inductive-motor-energy-efficiency-ratio-standards | http://www.moeaboe.gov.tw/ECW/english/content/Content.aspx?menu_id=1535
Minimum Energy Performance Standards for Boilers | This policy contains minimum energy performance standards for industrial boilers. | Taiwan of China | Boilers and Furnaces | Mandatory | Minimum Performance Standard | Entered into force, New | 2003 |  | October 2022 | Electricity, Gas |  | Bureau of Energy, Ministry of Economic Affairs | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/minimum-energy-performance-standards-boilers | https://www.moeaboe.gov.tw/ECW/english/content/Content.aspx?menu_id=1535
Requirements on Energy Efficiency and the Inspection of Low-Voltage Three-Phase Squirrel-Cage Induction Motors --including as a component of the specified equipment | The low-voltage three-phase squirrel-cage induction motor set in this announcement covers goods in compliance with Clause 14400 of Chinese National Standards; with a rated output power from 0.75kW¦1HP to 200kW¦270HP or which are subjected to inspection by the Central Competent Authority. | Taiwan of China | 3-Phase Motors | Voluntary | Comparative Label | Entered into force, Revised | 2012 | 2015 | August 2018 | Electricity |  | Bureau of Energy, Ministry of Economic Affairs | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/requirements-energy-efficiency-and-inspection-low-voltage-three-phase-squirrel-cage | https://meps.energylabel.org.tw/_upload/gen/law/7/file1/Requirements%20on%20Energy%20Efficiency%20and%20the%20Inspection%20of%20Low-Voltage%20Three-Phase%20Squirrel-Cage%20Induction%20Motors%20(including%20as%20a%20component%20of%20the%20specified%20equip