## Policy Search
Policy | Description | Geography | Products Type | Policy Approach | Policy Instrument | Policy Status | Adopted | Revised | Updated by CLASP | Fuel Types | Test Method Applied | Responsible Agency | Related Topics | Permalink | Source
10 CFR 430—Energy Conservation Program for Consumer Products | Conventional cooking top means a class of cooking products which is a household cooking appliance consisting of a horizontal surface containing one or more surface units which utilize a gas flame; electric resistance heating; or electric inductive heating. | United States of America* | Electronics, Uninterruptable Power Supply, Battery Chargers, External Power Supply, Dehumidifiers, Air Cleaners, Ovens, Microwaves, Dishwashers, Clothes Dryers, Washing Machines, Tubular Lamps, Non-Directional lamps, Directional Lamps, Fluorescent and HID Lighting, Ceiling Fans, Duct Fans, Heat Pumps, Boilers and Furnaces, Room ACs - Stationary ACs, Central ACs, Pool Heaters, Instantaneous Water Heaters, Storage Water Heaters, Showers or Showerheads, Urinals, Taps or Faucets, Distribution Transformers, Refrigerators-Freezers, Freezers-only | Mandatory | Minimum Performance Standard | Entered into force, Revised | 1990 | 2016 | December 2024 | Electricity, Gas | 10 CFR 430 Subpart B | U.S. Department of Energy | Energy Efficiency | https://cprc-clasp.ngo/policies/10-cfr-430-energy-conservation-program-consumer-products | https://www.ecfr.gov/current/title-10/chapter-II/subchapter-D/part-430
Energy Efficiency Criteria and Labeling Method for Axial flow Fans; No. En-Tech 10205010211 | Axial flow Fans shall meet the following specifications and the requirements of CNS 6592; CNS 6593; or recognized by the Bureau of Energy. The required specifications are: -Fan Diameter: between 0.125m and 2m; -Rated Power: between 125W and 75kW; -Static Pressure: under 500 mmAq; -Air Flow Rate: under 3000 CMM | Taiwan of China | Duct Fans | Voluntary | Endorsement Label | Entered into force, New | 2013 |  | August 2018 | Electricity | ISO 5801 or AMCA 210 | Greenmark Labelling Program | Energy Efficiency | https://cprc-clasp.ngo/policies/energy-efficiency-criteria-and-labeling-method-axial-flow-fans-no-en-tech-10205010211 | http://www.energylabel.org.tw/application_en/efficiency/upt.asp?cid=43
ENERGY STAR Technical Specification for Residential Heat-Recovery Ventilators and Energy-Recovery Ventilators (H/ERVs) sold in Canada Version 2.2 | A product model must meet the definition of a residential H/ERV as defined in Section 1A or 1B as specified in the policy document, comply with the testing and minimum performance requirements provided in this specification and have a capacity of no greater than 500 CFM (236 L/s) to be eligible for ENERGY STAR certification under this specification. H/ERVs with electric resistance heaters are not eligible for ENERGY STAR certification. | Canada | Duct Fans | Voluntary | Endorsement Label | Entered into force, Revised | 2009 | 2020 | June 2021 | Electricity | CAN/CSA C439–18 | ENERGY STAR Canada | Energy Efficiency | https://cprc-clasp.ngo/policies/energy-star-technical-specification-residential-heat-recovery-ventilators-and-energy | https://www.nrcan.gc.ca/energy-efficiency/energy-star-canada/about/participant-resources/technical-specifications/heatenergy-recovery-ventilators-hrvs-and-ervs/13695
MEPS for General Lighting | This policy sets minimum energy performance requirements for the following products: incandescent lamps (25-200W), Compact fluorescent lamps with integrated ballast (CFLi) (up to 60W), LED lamps with an Edison screw or a bayonet lamp cap (up to 60W), Compact fluorescent lamps without integrated ballast (CFLni), T8 Linear, double-capped, fluorescent lamps (LFL)[0.5 - 1.5]m, and LED lamps designed as a direct replacement for CFLni and T8 LFL without requiring any internal modification of the luminaires. | Singapore* | Lighting, Lamps, Tubular Lamps, Non-Directional lamps, HD lamps and retrofits | Mandatory | Minimum Performance Standard | Revised | 2015 | 2019 | December 2023 | Electricity | CIE3 84:1989 and IEC 60064, Measurement of luminous flux , CIE 84:1989 and IEC 60064 or IEC 60357, Measurement of luminous flux , IEC 60969:2001, Performance tests , IEC 60901:2001, Performance tests , IEC 60081:2002, Performance tests , IEC 62612:2013, Performance tests , IEC 62612:2013, Performance tests | National Environment Agency | Energy Efficiency | https://cprc-clasp.ngo/policies/meps-general-lighting | https://www.nea.gov.sg/our-services/climate-change-energy-efficiency/energy-efficiency/household-sector/about-mandatory-energy-labelling-and-minimum-energy-performance-standards