## Policy Search
Policy | Description | Geography | Products Type | Policy Approach | Policy Instrument | Policy Status | Adopted | Revised | Updated by CLASP | Fuel Types | Test Method Applied | Responsible Agency | Related Topics | Permalink | Source
Commission Regulation (EU) 2016/2281 of 30 November 2016 | This Regulation establishes ecodesign requirements for the placing on the market and/or putting into service of: (a) air heating products with a rated heating capacity not exceeding 1 MW; (b) cooling products and high temperature process chillers with a rated cooling capacity not exceeding 2 MW; (c) fan coil units. | United Kingdom | Room ACs - Stationary ACs, Chillers - Cooler Towers, Industrial Process Chillers | Mandatory | Minimum Performance Standard | Entered into force, New | 2016 |  | October 2023 | Electricity |  |  | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/commission-regulation-eu-20162281-30-november-2016-0 | https://www.legislation.gov.uk/eur/2016/2281/contents/2020-01-31
Commission Regulation (EU) 2016/2281 of 30 November 2016 implementing Directive 2009/125/EC of the European Parliament and of the Council establishing a framework for the setting of ecodesign requirements for energy-related products | This Regulation establishes ecodesign requirements for the placing on the market and/or putting into service of: (a) air heating products with a rated heating capacity not exceeding 1 MW; (b) cooling products and high temperature process chillers with a rated cooling capacity not exceeding 2 MW; (c) fan coil units. This Policy is under review by the European Commission and is expected to be revised in 2025. | European Union | Room ACs - Stationary ACs, Chillers - Cooler Towers, Industrial Process Chillers | Mandatory | Minimum Performance Standard | Entered into force, New | 2016 |  | September 2023 | Electricity |  | European Commission - DG Energy | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/commission-regulation-eu-20162281-30-november-2016-implementing-directive-2009125ec | https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX:02016R2281-20170109
Commission Regulation EU 2015-1095 of 5 May 2015 | This Regulation establishes ecodesign requirements for the placing on the market of professional refrigerated storage cabinets and blast cabinets. This Regulation shall apply to electric mains-operated blast cabinets; and electric mains-operated professional refrigerated storage cabinets including those sold for the refrigeration of foodstuffs and animal feed. | United Kingdom | Refrigerated Cabinets, Industrial Process Chillers | Mandatory | Minimum Performance Standard | Entered into force, New | 2015 |  | October 2023 | Electricity |  |  | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/commission-regulation-eu-2015-1095-5-may-2015 | https://www.legislation.gov.uk/eur/2015/1095/contents
Commission Regulation EU 2015-1095 of 5 May 2015 implementing Directive 2009-125-EC of the European Parliament and of the Council with regard to ecodesign requirements for professional refrigerated storage cabinets; blast cabinets; condensi | This Regulation establishes ecodesign requirements for the placing on the market of professional refrigerated storage cabinets and blast cabinets. This Regulation shall apply to electric mains-operated blast cabinets; and electric mains-operated professional refrigerated storage cabinets including those sold for the refrigeration of foodstuffs and animal feed. This Policy is under review by the European Commission and is expected to be revised in 2024. | European Union | Refrigerated Cabinets, Industrial Process Chillers | Mandatory | Minimum Performance Standard | Entered into force, New | 2015 |  | September 2023 | Electricity |  | European Commission - DG Energy | Energy Efficiency, Industrial Sector | https://cprc-clasp.ngo/policies/commission-regulation-eu-2015-1095-5-may-2015-implementing-directive-2009-125-ec-european | https://eur-lex.europa.eu/legal-content/EN/TXT/?qid=1538151014873&uri=CELEX:02015R1095-20170109
Draft MEPS for chillers | The document specifies the MEPS requirement for chillers | Indonesia | Refrigeration, Industrial Process Chillers | Not applicable | Minimum Performance Standard | Under development |  |  | October 2022 | Electricity |  | Directorate General of New and Renewable Energy, and Energy Conservation under … | Energy Efficiency | https://cprc-clasp.ngo/policies/draft-meps-chillers
Ministry of Industry and Trade Decree N 769 | Electric water heaters accumulative; Household Electric boilers | Russia | Imaging Equipment, Televisions, Displays, Ovens, Microwaves, Dishwashers, Washer and Dryers, Non-Directional lamps, Elevators, Boilers and Furnaces, Room ACs - Stationary ACs, Instantaneous Water Heaters, Storage Water Heaters, Refrigerators-Freezers, Freezers-only | Voluntary | Comparative Label | Entered into force, New | 2012 |  | August 2018 | Electricity, Gas | GOST 21766-87, GOST 21552-84 | Ministry of Industry and Trade of the Russian Federation | Energy Efficiency | https://cprc-clasp.ngo/policies/ministry-industry-and-trade-decree-n-769 | http://www.consultant.ru/document/cons_doc_LAW_109983/c3f92e3c0a2fd053673311fdef9e3ee11b1609f9/
Sello FIDE No. 4165 - Elevators | This endorsement label establishes specifications for electric traction elevators for passenger transport and movement of objects with vertical guides, with or without machine room, according to the five categories of usage: very low, low, occasional, frequent, and very frequent. | Mexico | Elevators | Voluntary | Endorsement Label | Entered into force, New | 2011 |  | September 2022 | Electricity | NOM-053-SCFI / NOM-008-SCFI / VDI 4707 parte 1 / VDI 2566 parte 1 / VDI 2566 parte 2 | Fideicomiso para el Ahorro de Energía Eléctrica (FIDE) - Trust for Saving Elect… | Energy Efficiency | https://cprc-clasp.ngo/policies/sello-fide-no-4165-elevators | https://www.fide.org.mx/wp-content/uploads/sello-fide/especificaciones/esp4165_01.pdf