## Policy Search
Policy | Description | Geography | Products Type | Policy Approach | Policy Instrument | Policy Status | Adopted | Revised | Updated by CLASP | Fuel Types | Test Method Applied | Responsible Agency | Related Topics | Permalink | Source
Energy Efficiency (Minimum Energy Efficiency Standards And Energy Labelling) Regulations, 2023 | This policy regulates minimum energy efficiency standards (MEPS) and label for air-conditioners: {a} casement or window type air-conditioner (cooling capacity of 7.1 kW or lower); (b} split type non-inverter air-conditioner with one or more than one indoor unit (cooling capacity of 7.1 kW or lower); {c} split type inverter air-conditioner with one or more than one indoor unit (cooling capacity of 7.1 kW or lower). | Brunei Darussalam | Air Conditioning, Room ACs - Stationary ACs | Mandatory | Comparative Label, Minimum Performance Standard | Entered into force, New | 2023 |  | September 2025 | Electricity | ISO 5151 , ISO 15042 | The Office of the Prime Minister | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/energy-efficiency-minimum-energy-efficiency-standards-and-energy-labelling-regulations | https://www.agc.gov.bn/AGC%20Images/LAWS/Gazette_PDF/2023/EN/S%2037_2023%20[E].pdf
Labeling for Domestic Lighting | This policy is under development and will cover labeling requirements for domestic lighting. | Chile | Non-Directional lamps | Mandatory | Comparative Label | Under development |  |  | September 2022 | Electricity |  | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/labeling-domestic-lighting | https://energia.gob.cl/consultas-publicas/especificaciones-tecnicas-para-el-diseno-de-la-etiqueta-de-eficiencia-energetica-para-lamparas-de-uso-domestico
MEPS and labeling schemes for air conditioners | Non inverter type and single phase | Brunei Darussalam | Room ACs - Stationary ACs | Not applicable | Comparative Label, Minimum Performance Standard | Under development |  |  | October 2019 | Electricity |  | Energy Labelling and Standards Task Force of Energy Department, Prime Ministers… | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/meps-and-labeling-schemes-air-conditioners-4 | http://www.lse.ac.uk/GranthamInstitute/wp-content/uploads/laws/8145.pdf
MEPS and labeling schemes for CFL | Information not available | Panama | Non-Directional lamps | Mandatory | Minimum Performance Standard, Comparative Label | Under development |  |  | October 2019 | Electricity |  | National Energy Secretariat of Panama | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/meps-and-labeling-schemes-cfl | https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=9&cad=rja&uact=8&ved=2ahUKEwjLu6OBoKblAhWNd98KHc52AdkQFjAIegQIBxAC&url=https%3A%2F%2Fwww.eceee.org%2Flibrary%2Fconference_proceedings%2Feceee_Summer_Studies%2F2017%2F7-appliances-products-lighti
PE No 1/26/2 | This protocol provides specifications for single phase air conditioners, of the direct expansion refrigeration type, single or multi-split units, non-ducted, up to a cooling capacity of 12 kW (42000 Btu/h) and condensation by air. | Chile | Room ACs - Stationary ACs | Mandatory | Comparative Label | Entered into force, New | 2011 |  | January 2016 | Electricity | NCh 3081: 2007 | Superintendencia de Electricidad y Combustibles (SEC) -Fuel and Electricity Sup… | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/pe-no-1262 | http://www.sec.cl/pls/portal/docs/PAGE/SECNORMATIVA/PRODUCTOS/PROTOCOLOS_ELECTRICIDAD/PE_1-26-2.PDF
Resolution No. 10/2020 - Minimum Efficiency Standard for Interior Lighting | Minimum energy performance standard for general lighting. | Chile | Non-Directional lamps | Mandatory | Minimum Performance Standard | Entered into force, Revised | 2013 | 2020 | September 2022 | Electricity | IEC 60064/2005 / IEC 60969 (2001) / IEC 60081 (2002) / IEC 60901 (2001) / IEC 60357:2002-11 / IEC 62612:2018-08 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-102020-minimum-efficiency-standard-interior-lighting | https://www.ingcer.cl/wp-content/uploads/2020/08/FIJA-EST%C3%81NDAR-M%C3%8DNIMO-DE-EFICIENCIAE.pdf
Resolution No. 1334 - Minimum Efficiency Standard for Domestic Refrigerators and Freezers | This policy provides specifications for energy efficiency performance and labeling for refrigerators, freezers and refrigerators-freezers. It originally covered lighting products, which now have their own separate policy. | Chile | Refrigerators-Freezers, Freezers-only | Mandatory | Comparative Label | Entered into force, New | 2007 |  | September 2022 | Electricity | PE Nº 5/06/2 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-1334-minimum-efficiency-standard-domestic-refrigerators-and-freezers | https://www.bcn.cl/leychile/navegar?idNorma=254060
Resolution No. 3199 - Labeling for Electronics in Standby Mode | Specifies labeling requirements for the following products in standby mode: microwave ovens, televisions, decoder (translation: decodificador), DVD player, Blu-ray player, and music equipment (mini and micro components). | Chile | Stand-by and networked devices | Mandatory | Comparative Label | Entered into force, New | 2011 |  | September 2022 | Electricity | NCh3107.Of2008 / IEC 62301:2005 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-3199-labeling-electronics-standby-mode | https://www.bcn.cl/leychile/navegar?idNorma=1167667
Resolution No. 4 - Minimum Efficiency Standard for Air Conditioners | This policy covers the minimum energy performance standard (MEPS) for air conditioners. | Chile | Room ACs - Stationary ACs | Mandatory | Minimum Performance Standard | Entered into force, New | 2018 |  | September 2022 | Electricity | ISO 5151:1994 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-4-minimum-efficiency-standard-air-conditioners | https://www.bcn.cl/leychile/navegar?idNorma=1115032
Resolution No. 54 - Labeling for Instantaneous Gas Water Heaters | This policy applies to instantaneous gas water heaters. | Chile | Instantaneous Water Heaters | Mandatory | Comparative Label | Entered into force, New | 2017 |  | September 2022 | Gas | SEC PC N° 6/1-2 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-54-labeling-instantaneous-gas-water-heaters | https://www.bcn.cl/leychile/navegar?i=1104856&f=2017-07-04
Resolution No. 6 - Labeling for Clothes Dryers | This policy specifies labeling requirements for clothes dryers. | Chile | Clothes Dryers | Mandatory | Comparative Label | Entered into force, New | 2017 |  | September 2022 | Electricity | IEC 61121:2012-04 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-6-labeling-clothes-dryers | https://www.bcn.cl/leychile/navegar?idNorma=1100325
Resolution No. 69 - Labeling for Gas Cooking Appliances | Labeling for gas cooking appliances. | Chile | Cooktops or Hobs | Mandatory | Comparative Label | Entered into force, New | 2014 |  | September 2022 | Gas | SEC PC Nº7/1-2 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-69-labeling-gas-cooking-appliances | http://www.sec.cl/pls/portal/docs/PAGE/SECNORMATIVA/PRODUCTOS/PROTOCOLOS_COMBUSTIBLES/PC_7-1_2.PDF
Resolution No. 7 - Labeling for Televisions | This policy specifies labeling requirements for televisions. | Chile | Televisions | Mandatory | Comparative Label | Entered into force, New | 2017 |  | September 2022 | Electricity | IEC 62087 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-7-labeling-televisions | https://www.bcn.cl/leychile/navegar?idNorma=1100326
Resolution No. 70 - Labeling for Clothes Washers | This protocol provides specifications for certifying efficiency of clothes washers for domestic use, with or without heating devices, operating with cold or hot water. | Chile | Washing Machines | Mandatory | Comparative Label | Entered into force, New | 2015 |  | September 2022 | Electricity | SEC PE Nº1/06/2 / UNIT 1171:2010 / UNIT 1171:2010 / IRAM 2141-3 (2010) | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-70-labeling-clothes-washers | https://www.bcn.cl/leychile/navegar?idNorma=1073368
Resolution No. 71 - Labeling for Tungsten Halogen Lamps | This protocol provides specifications for energy efficiency labeling for tungsten halogen lamps. | Chile | Non-Directional lamps | Mandatory | Comparative Label | Entered into force, New | 2011 | 2015 | September 2022 | Electricity | IEC 60357:2002-11 / IEC 60357 Amend. 1:2006-04 / IEC 60357 Amend. 2:2008-10 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-71-labeling-tungsten-halogen-lamps | https://www.bcn.cl/leychile/navegar?idNorma=1073369
Resolution No. 74 - Minimum Efficiency Standard for Domestic Refrigerators | This policy covers the minimum energy performance standard (MEPS) for domestic refrigerators. | Chile | Refrigerators-Freezers | Mandatory | Minimum Performance Standard | Entered into force, New | 2015 |  | September 2022 | Electricity | NCh3000.Of2006 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-74-minimum-efficiency-standard-domestic-refrigerators | https://www.bcn.cl/leychile/navegar?i=1073371&f=2015-01-10&p=
Resolution No. 8 - Labeling for Dishwashers | This policy specifies labeling requirements for electric dishwashers. | Chile | Dishwashers | Mandatory | Comparative Label | Entered into force, New | 2017 |  | September 2022 | Electricity | IEC 60436:2012-04 | Ministry of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no-8-labeling-dishwashers | https://www.bcn.cl/leychile/navegar?idNorma=1100327
Resolution No.114: ductless, split type air conditioners with variable refrigerant flow | This regulation applies to ductless, split type air conditioners with variable refrigerant flow. | Panama | Room ACs - Stationary ACs | Mandatory | Comparative Label, Minimum Performance Standard | Entered into force, New | 2019 |  | October 2019 | Electricity | DGNTI-COPANIT 104:2017 | National Energy Secretariat of Panama | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no114-ductless-split-type-air-conditioners-variable-refrigerant-flow | https://www.gma.trade/single-post/2019/01/24/New-Requirements-for-Air-Conditioners-Came-Into-Force-in-Panama
Resolution No.115: ductless split type air conditioners | This regulation applies to ductless split type air conditioners. | Panama | Room ACs - Stationary ACs | Mandatory | Comparative Label, Minimum Performance Standard | Entered into force, New | 2019 |  | October 2019 | Electricity | DGNTI-COPANIT 103:2017 | National Energy Secretariat of Panama | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no115-ductless-split-type-air-conditioners | https://www.gma.trade/single-post/2019/01/24/New-Requirements-for-Air-Conditioners-Came-Into-Force-in-Panama
Resolution No.116: room-type air conditioners | This regulation applies to room-type air conditioners. | Panama | Room ACs - Stationary ACs | Mandatory | Comparative Label, Minimum Performance Standard | Entered into force, New | 2019 |  | October 2019 | Electricity | DGNTI-COPANIT 102:2017 | National Energy Secretariat of Panama | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no116-room-type-air-conditioners | https://www.gma.trade/single-post/2019/01/24/New-Requirements-for-Air-Conditioners-Came-Into-Force-in-Panama
Resolution No.117: central, packaged and split air conditioners | This regulation applies to central, packaged and split air conditioners. | Panama | Room ACs - Stationary ACs | Mandatory | Comparative Label, Minimum Performance Standard | Entered into force, New | 2019 |  | October 2019 | Electricity | DGNTI-COPANIT 101:2017 | National Energy Secretariat of Panama | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no117-central-packaged-and-split-air-conditioners | https://www.gma.trade/single-post/2019/01/24/New-Requirements-for-Air-Conditioners-Came-Into-Force-in-Panama
Resolution No.31: refrigerators, freezers, refrigerator-freezers | This regulation applies to domestic refrigerators, refrigerator-freezers up to 1104 dm3 (39ft3) and domestic freezers up to 850 dm3 (30ft3) operated by hermetic motor compressors. It also applies to refrigerators and freezers within the scope of the Technical Standard DGNTI-COPANIT 511:2017. Commercial vertical or horizontal freezers are excluded from this regulation. | Panama | Refrigerators-Freezers, Freezers-only | Mandatory | Comparative Label, Minimum Performance Standard | Entered into force, New | 2019 |  | October 2019 | Electricity | DGNTI-COPANIT 511:2017 | National Energy Secretariat of Panama | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/resolution-no31-refrigerators-freezers-refrigerator-freezers | https://www.tuvsud.com/en-us/e-ssentials-newsletter/consumer-products-and-retail-essentials/e-ssentials-13-2019/panama-refrigerators-and-freezers-energy-efficiency-and-labelling-requirements-in-force