## Policy Search
Policy | Description | Geography | Products Type | Policy Approach | Policy Instrument | Policy Status | Adopted | Revised | Updated by CLASP | Fuel Types | Test Method Applied | Responsible Agency | Related Topics | Permalink | Source
10 CFR 430—Energy Conservation Program for Consumer Products | Conventional cooking top means a class of cooking products which is a household cooking appliance consisting of a horizontal surface containing one or more surface units which utilize a gas flame; electric resistance heating; or electric inductive heating. | United States of America* | Electronics, Uninterruptable Power Supply, Battery Chargers, External Power Supply, Dehumidifiers, Air Cleaners, Ovens, Microwaves, Dishwashers, Clothes Dryers, Washing Machines, Tubular Lamps, Non-Directional lamps, Directional Lamps, Fluorescent and HID Lighting, Ceiling Fans, Duct Fans, Heat Pumps, Boilers and Furnaces, Room ACs - Stationary ACs, Central ACs, Pool Heaters, Instantaneous Water Heaters, Storage Water Heaters, Showers or Showerheads, Urinals, Taps or Faucets, Distribution Transformers, Refrigerators-Freezers, Freezers-only | Mandatory | Minimum Performance Standard | Entered into force, Revised | 1990 | 2016 | December 2024 | Electricity, Gas | 10 CFR 430 Subpart B | U.S. Department of Energy | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/10-cfr-430-energy-conservation-program-consumer-products | https://www.ecfr.gov/current/title-10/chapter-II/subchapter-D/part-430
Energy Efficiency Criteria and Labeling Method for Axial flow Fans; No. En-Tech 10205010211 | Axial flow Fans shall meet the following specifications and the requirements of CNS 6592; CNS 6593; or recognized by the Bureau of Energy. The required specifications are: -Fan Diameter: between 0.125m and 2m; -Rated Power: between 125W and 75kW; -Static Pressure: under 500 mmAq; -Air Flow Rate: under 3000 CMM | Taiwan of China | Duct Fans | Voluntary | Endorsement Label | Entered into force, New | 2013 |  | August 2018 | Electricity | ISO 5801 or AMCA 210 | Greenmark Labelling Program | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/energy-efficiency-criteria-and-labeling-method-axial-flow-fans-no-en-tech-10205010211 | http://www.energylabel.org.tw/application_en/efficiency/upt.asp?cid=43
ENERGY STAR Program Requirements for Commercial Griddles Version 1.2 | Products that meet the definitions of a Single-Sided and Double-Sided Commercial Griddle are eligible for ENERGY STAR qualification; with the exception of Griddles with manual controls and fry-top ranges. | Canada, United States of America* | Griddles | Voluntary | Endorsement Label | Entered into force, Revised | 2009 | 2020 | June 2021 | Electricity | ASTM F1275-14; ASTM F1605-14 | ENERGY STAR | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/energy-star-program-requirements-commercial-griddles-version-12 | https://www.energystar.gov/products/commercial_food_service_equipment/commercial_griddles/partners
ENERGY STAR Technical Specification for Residential Heat-Recovery Ventilators and Energy-Recovery Ventilators (H/ERVs) sold in Canada Version 2.2 | A product model must meet the definition of a residential H/ERV as defined in Section 1A or 1B as specified in the policy document, comply with the testing and minimum performance requirements provided in this specification and have a capacity of no greater than 500 CFM (236 L/s) to be eligible for ENERGY STAR certification under this specification. H/ERVs with electric resistance heaters are not eligible for ENERGY STAR certification. | Canada | Duct Fans | Voluntary | Endorsement Label | Entered into force, Revised | 2009 | 2020 | June 2021 | Electricity | CAN/CSA C439–18 | ENERGY STAR Canada | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/energy-star-technical-specification-residential-heat-recovery-ventilators-and-energy | https://www.nrcan.gc.ca/energy-efficiency/energy-star-canada/about/participant-resources/technical-specifications/heatenergy-recovery-ventilators-hrvs-and-ervs/13695
Minimum energy performance standard(MEPS) and labelling for clay plate resistor based electric injera mitad | This Ethiopian Minimum Energy Performance Standard and label grading applies to clay plate resistor | Ethiopia | Griddles | Mandatory | Minimum Performance Standard | Entered into force, New | 2017 |  | November 2020 | Electricity |  | Ethiopian Standards Agency | Energy Efficiency | https://cprc-clasp.ngo/index.php/policies/minimum-energy-performance-standardmeps-and-labelling-clay-plate-resistor-based-electric | http://eea.gov.et/media/attachments/LAWS%20AND%20REGUALTIONS/Energy%20laws%20and%20regualtions/4-MEPS%20INJER%20MITAD%20%20Ethiopia%20draft%2029-2-2020%20version%20final%20East%20Gate%20(4).pdf