## Worksheet
title | Policy Name | Source | Policy Description | Adopted Date | Region | Geography | Changed | Fuel Types | Policy Status | Policy Status Revised Date | Policy Status Updated by CLASP Date | Policy Type | Products Covered | Related Topics | Requirements | Responsible Agency | Scope | Test Method Applied | Permalink
SASO 2874:2016 MEPS for large air conditioners | SASO 2874:2016 MEPS for large air conditioners | https://www.intertek.com.cn/Uploadfile/File/SASO-2874_2016.pdf | It shall apply to air conditioners designed to operate in AC single-phase circuits of 220V or 230V, or designed for dual voltage or voltage range including these values, and three-phase circuits of 380V or 400V with a frequency of 60Hz. Air conditioners having special voltages, not under the scope of this standard, shall be subjec to SASO approval, in condition that they do not exceed 600V. For water-cooled chillers voltages up to 1500V are included. This standard does not apply to air conditioners that are covered under the scope of the lastest version of SASO 2663 standard. | 2016 | Middle East | Kingdom of Saudi Arabia | Thu, 06/03/2021 - 20:15 | Electricity | Entered into force, New |  | November 2019 | Minimum Performance Standard | Room ACs - Stationary ACs, Chillers - Cooler Towers | Energy Efficiency | Mandatory | Saudi Standard, Metrology and Quality Organization ( http://www.saso.gov.sa/en/Pages/default.aspx ) | This standard specifies the MEPS and testing requirements for electrically operated air conditioners, condensing units, chillers, absorption chillers, electrically operated variable refrigerant flow (VRF) air conditioners, close control air conditioners and condensing units serving computer rooms. |  | https://cprc-clasp.ngo/policies/saso-28742016-meps-large-air-conditioners