## Worksheet
title | Policy Name | Source | Policy Description | Adopted Date | Region | Geography | Changed | Fuel Types | Policy Status | Policy Status Revised Date | Policy Status Updated by CLASP Date | Policy Type | Products Covered | Related Topics | Requirements | Responsible Agency | Scope | Test Method Applied | Permalink
Energy Efficiency Criteria and Labeling Method for Axial flow Fans; No. En-Tech 10205010211 | Energy Efficiency Criteria and Labeling Method for Axial flow Fans; No. En-Tech 10205010211 | http://www.energylabel.org.tw/application_en/efficiency/upt.asp?cid=43 |  | 2013 | Asia and Pacific | Taiwan of China | Thu, 06/03/2021 - 20:18 | Electricity | Entered into force, New |  | August 2018 | Endorsement Label | Duct Fans | Energy Efficiency | Voluntary | Greenmark Labelling Program ( http://greenliving.epa.gov.tw/ ) | Axial flow Fans shall meet the following specifications and the requirements of CNS 6592; CNS 6593; or recognized by the Bureau of Energy. The required specifications are: -Fan Diameter: between 0.125m and 2m; -Rated Power: between 125W and 75kW; -Static Pressure: under 500 mmAq; -Air Flow Rate: under 3000 CMM | ISO 5801 or AMCA 210 | https://cprc-clasp.ngo/policies/energy-efficiency-criteria-and-labeling-method-axial-flow-fans-no-en-tech-10205010211