## Worksheet
title | field_unofficial_name | Source | Policy Description | Adopted Date | Region | Geography | Changed | Fuel Types | Policy Status | Policy Status Revised Date | Policy Status Updated by CLASP Date | Policy Type | Products Covered | Related Topics | Requirements | Responsible Agency | Scope | Test Method Applied | Permalink
RACs Window MEPS | RACs Window MEPS | http://www.moeaboe.gov.tw/ECW/english/content/Content.aspx?menu_id=1535 |  | 1991 | Asia and Pacific | Taiwan of China | Thu, 06/03/2021 - 20:18 | Electricity | Entered into force, Adopted, Revised | 2016 | August 2018 | Minimum Performance Standard | Room ACs - Stationary ACs | Energy Efficiency | Voluntary | Greenmark Labelling Program ( http://greenliving.epa.gov.tw/ ) | EER of No-duct RAC should be in accordance with No-Duct Air Conditioner and Heat Pump Testing Standard in CNS 14464. The ratio of total cooling capacity to effective input power under T1 standard testing condition should no be smaller than the values in the above table and must be more than 95 percent of the labeled value. Only products that the capacity is less than 70kW will be tested. | CNS 3615-95 CNS 7183 CNS 14464 | https://cprc-clasp.ngo/policies/racs-window-meps