## Worksheet
title | field_unofficial_name | Source | Policy Description | Adopted Date | Region | Geography | Changed | Fuel Types | Policy Status | Policy Status Revised Date | Policy Status Updated by CLASP Date | Policy Type | Products Covered | Related Topics | Requirements | Responsible Agency | Scope | Test Method Applied | Permalink
Commission Regulation (EU) 2016/2281 of 30 November 2016 implementing Directive 2009/125/EC of the European Parliament and of the Council establishing a framework for the setting of ecodesign requirements for energy-related products | Commission Regulation (EU) 2016/2281 of 30 November 2016 implementing Directive 2009/125/EC of the European Parliament and of the Council establishing a framework for the setting of ecodesign requirements for energy-related products, with regard to ecodesign requirements for air heating products, cooling products, high temperature process chillers and fan coil units | https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX%3A02016R2281-20170109 |  | 2016 | Europe | European Union | Fri, 05/02/2025 - 08:45 | Electricity | Entered into force, Adopted |  | September 2023 | Minimum Performance Standard | Room ACs - Stationary ACs, Chillers - Cooler Towers, Industrial Process Chillers | Energy Efficiency, Industrial Sector | Mandatory | European Commission - DG Energy ( http://ec.europa.eu/energy/en/topics/energy-efficiency/energy-efficient-products ) | This Regulation establishes ecodesign requirements for the placing on the market and/or putting into service of: (a) air heating products with a rated heating capacity not exceeding 1 MW; (b) cooling products and high temperature process chillers with a rated cooling capacity not exceeding 2 MW; (c) fan coil units. This Policy is under review by the European Commission and is expected to be revised in 2025. |  | https://cprc-clasp.ngo/policies/commission-regulation-eu-20162281-30-november-2016-implementing-directive-2009125ec