## Worksheet
title | Policy Name | Source | Policy Description | Adopted Date | Region | Geography | Changed | Fuel Types | Policy Status | Policy Status Revised Date | Policy Status Updated by CLASP Date | Policy Type | Products Covered | Related Topics | Requirements | Responsible Agency | Scope | Test Method Applied | Permalink
Commission Regulation (EU) 2016/2281 of 30 November 2016 | Commission Regulation (EU) 2016/2281 of 30 November 2016 implementing Directive 2009/125/EC of the European Parliament and of the Council establishing a framework for the setting of ecodesign requirements for energy-related products, with regard to ecodesign requirements for air heating products, cooling products, high temperature process chillers and fan coil units | https://www.legislation.gov.uk/eur/2016/2281/contents/2020-01-31 |  | 2016 | Europe | United Kingdom | Tue, 10/17/2023 - 15:13 | Electricity | Entered into force, New |  | October 2023 | Minimum Performance Standard | Room ACs - Stationary ACs, Chillers - Cooler Towers, Industrial Process Chillers | Energy Efficiency, Industrial Sector | Mandatory |  | This Regulation establishes ecodesign requirements for the placing on the market and/or putting into service of: (a) air heating products with a rated heating capacity not exceeding 1 MW; (b) cooling products and high temperature process chillers with a rated cooling capacity not exceeding 2 MW; (c) fan coil units. |  | https://cprc-clasp.ngo/policies/commission-regulation-eu-20162281-30-november-2016-0