## Worksheet
title | Policy Name | Source | Policy Description | Adopted Date | Region | Geography | Changed | Fuel Types | Policy Status | Policy Status Revised Date | Policy Status Updated by CLASP Date | Policy Type | Products Covered | Related Topics | Requirements | Responsible Agency | Scope | Test Method Applied | Permalink
MELS for Split Type Air-Conditioners | MELS for Split Type Air-Conditioners | https://www.nea.gov.sg/our-services/climate-change-energy-efficiency/energy-efficiency/household-sector/tick-rating | COP (W/W) and Standby Power (W) Single-split (non-inverter) 1 tick: NA 2 tick: COP100% ≥ 4.04 3 tick: 4.29 ≤ COP100% < 4.86 and Standby power ≤ 18 4 tick: COP100% ≥ 4.86 and Standby power ≤ 18 5 tick: COP100% ≥ 5.50 and Standby power ≤ 4 Multi-split (non-inverter) 1 tick: NA 2 tick: COP100% ≥ 4.04 3 tick: 4.29 ≤ COP100% < 4.86 and Standby power ≤ 9 x N 4 tick: COP100% ≥ 4.86 and Standby power ≤ 9 x N 5 tick: COP100% ≥ 5.50 and Standby power ≤ 7 x N Single-split (inverter) (COP100, Weighted COP) 1 tick: NA 2 tick: Weighted COP ≥ 4.04 and COP100% ≥ 3.34 3 tick: Weighted COP ≥ 4.29, COP100% ≥ 3.78 and Standby power ≤ 18 4 tick: Weighted COP ≥ 4.86, COP100% ≥ 4.29 and Standby power ≤ 18 5 tick: Weighted COP ≥ 5.50, COP100% ≥ 4.86 and Standby power ≤ 4 Multi-split (inverter) (COP100, Weighted COP) 1 tick: NA 2 tick: Weighted COP ≥ 4.04 and COP100% ≥ 3.34 3 tick: Weighted COP ≥ 4.29, COP100% ≥ 3.78 and Standby power ≤ 9 x N 4 tick: Weighted COP ≥ 4.86, COP100% ≥ 4.29 Standby power ≤ 9 x N 5 tick: Weighted COP ≥ 5.50, COP100% ≥ 4.86 and Standby power ≤ 7 x N COP100% is defined as the ratio of total cooling capacity to effective power input at full load cooling capacity For split (inverter) type air-conditioners, the model shall meet both the minimum COP100% and weighted COP Weighted COP = 0.4 x COP100% + 0.6 x COP50% N is the number of indoor and outdoor units Standby power is expressed in Watts | 2008 | Asia and Pacific | Singapore* | Tue, 11/04/2025 - 21:09 | Electricity | Revised | 2014 | December 2023 | Comparative Label | Room ACs - Stationary ACs | Energy Efficiency | Mandatory | National Environment Agency ( https://www.nea.gov.sg/ ) | This policy applies to any single-phase non-ducted room air-conditioner (split type (inverter)) with a cooling capacity of 17.6 kW or lower and any single-phase non-ducted room air-conditioner (split type (non-inverter)) with a cooling capacity of 17.6 kW or lower. | ISO 15042:2017 , IEC 62301:2005 , IEC 62301:2011 | https://cprc-clasp.ngo/policies/mels-split-type-air-conditioners