## Worksheet
title | Policy Name | Source | Policy Description | Adopted Date | Region | Geography | Changed | Fuel Types | Policy Status | Policy Status Revised Date | Policy Status Updated by CLASP Date | Policy Type | Products Covered | Related Topics | Requirements | Responsible Agency | Scope | Test Method Applied | Permalink
Commission Decision of 28 May 2014: 2014-314-EU | 2014/314/EU: Commission Decision of 28 May 2014 establishing the criteria for the award of the EU Ecolabel for water-based heaters (notified under document C(2014) 3452) | http://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX:32014D0314 | 2. The maximum output power of the water-based heaters shall be 400 kW. 3. Combination heaters are included in the scope of this product group; provided that their primary function is to provide space heat. 4.The following products are excluded from the scope of this product group: A. heaters whose primary function is to provide hot drinking or sanitary water; B. heaters for heating and distributing gaseous heat transfer media such as vapour or air; C. cogeneration space heaters with a maximum electrical capacity of 50 kW or above; D. space heaters that combine both indirect heating; using water-based central heating system; and direct heating; by direct emission of heat into the room or space where the appliance is installed. | 2014 | Europe | European Union | Thu, 06/03/2021 - 20:15 | Electricity, Gas, Oil, Water | Entered into force, New |  | December 2018 | Endorsement Label | Boilers and Furnaces | Energy Efficiency | Voluntary | European Commission - DG Environment ( http://ec.europa.eu/environment/ecolabel/index_en.htm ) | 1. The product group water-based heaters shall comprise products that are used to generate heat as part of a water- based central heating system; where the heated water is distributed by means of circulators and heat emitters in order to reach and maintain the indoor temperature of an enclosed space such as a building; a dwelling; or a room; at a desired level. 2. The maximum output power of the water-based heaters shall be 400 kW. 3. Combination heaters are included in the scope of this product group; provided that their primary function is to provide space heat. 4.The following products are excluded from the scope of this product group: A. heaters whose primary function is to provide hot drinking or sanitary water; B. heaters for heating and distributing gaseous heat transfer media such as vapour or air; C. cogeneration space heaters with a maximum electrical capacity of 50 kW or above; D. space heaters that combine both indirect heating; using water-based central heating system; and direct heating; by direct emission of heat into the room or space where the appliance is installed. |  | https://cprc-clasp.ngo/policies/commission-decision-28-may-2014-2014-314-eu